## LCOA Overview
Wind turbine | Vestas_V90_2000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633 | 92635955.946 | 9505476.1144 | 876000.0106 | 606.319 | 321.2587 | 94.9997 | 38.1147 | 54.6468 | 40.4399 | 56.8592 | 12.24% | 28.78%
Inner Mongolia | Chifeng | 42.7852 | 118.7646 | 87231627.1988 | 9505475.9223 | 875999.9928 | 574.2385 | 283.8528 | 94.66 | 7.1801 | 92.925 | 38.3405 | 57.28 | 13.11% | 31.59%
Liaoning | Chaoyang | 41.6807 | 120.7899 | 106292922.0491 | 9505475.9285 | 875999.9934 | 687.3878 | 426.4062 | 95.208 | 7.4578 | 63.9529 | 37.5125 | 56.8503 | 11.61% | 17.46%
Jilin | Baicheng | 45.3733 | 122.9395 | 95964990.0485 | 9505475.7084 | 875999.9731 | 626.0804 | 340.9172 | 97.7759 | 8.9212 | 83.6097 | 37.8516 | 57.0049 | 12.81% | 24.03%
Wind turbine | Goldwind_140_3000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633 | 78225366.7466 | 9505475.9542 | 875999.9958 | 520.7767 | 270.6661 | 89.4612 | 6.7548 | 56.5843 | 40.4282 | 56.882 | 13.28% | 31.28%
Inner Mongolia | Chifeng | 42.7852 | 118.7646 | 78157127.0866 | 9505476.0739 | 876000.0068 | 520.3716 | 235.9869 | 94.9138 | 6.3502 | 87.141 | 38.6144 | 57.3653 | 13.36% | 44.2%
Liaoning | Chaoyang | 41.6807 | 120.7899 | 86997539.9469 | 9505475.7192 | 875999.9741 | 572.849 | 317.6314 | 94.5699 | 3.8853 | 62.332 | 37.5705 | 56.8598 | 11.81% | 25.61%
Jilin | Baicheng | 45.3733 | 122.9395 | 84624959.8075 | 9505476.0814 | 876000.0075 | 558.7651 | 278.38 | 97.4783 | 6.5052 | 81.5567 | 37.8473 | 56.9976 | 13.01% | 33.08%

## InMo_BT_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 622.511 | 0 | 667611.882 | 0 | 667611.882 | 0 | 0.12243 | 493395.997 | 26425636.2399 | 0 | 26425635.873 | 39.5823
| wind | 504.8464 | 0 | 1272619.4038 | 0 | 1272619.4038 | 0 | 0.28776 | 694115.8876 | 27694106.2594 | 0 | 27694106.3451 | 21.7615
Link | Electrolyser | 308.9842 | 0 | 1068290.7634 | 1810662.3109 | -742371.5475 | 0 | 0.66896 | 0 | 16003791.6192 | 0 | 16003791.3647 | 14.9807
| Haber-Bosch | 15.597 | 0 | 876000.0106 | 1192682.7744 | -316682.7638 | 0 | 0.91043 | 0 | 6812563.4428 | 9505476.1144 | 16318041.4218 | 18.6279
| ammonia | 34.0972 | 0 | 93942.4196 | 93942.4196 | 0 | -2e-05 | 0.31451 | 0 | 0 | -2e-05 | -2e-05
| hydrogen | 133.9486 | 0 | 292182.4636 | 292182.4636 | 0 | 0.00048 | 0.24901 | 0 | 0 | 0.00048 | 0.00048
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -102141431.905
StorageUnit | - | 348.1355 | 0 | 70097.156 | 75274.1346 | -5176.9787 | 0 | 0.047668 | 3054843.7835 | 6420861.5265 | 0 | 6420861.5563 | 91.5994
Store | ammonia | 7587.2878 | 0 | 46971.2098 | 46971.2098 | 2e-05 | 0 | 0.099483 | 0 | 73115.0726 | 2e-05 | 73115.0548 | 1.5566
| hydrogen | 1815.2585 | 0 | 146091.2316 | 146091.232 | -0.00048 | 0 | 0.12215 | 0 | 9205881.7856 | -0.00048 | 9205881.7003 | 63.0146
Description | Value
Total Ammonia Output | 876000.0106
Total CAPEX | 92635955.946
Total OPEX | 9505476.1144
Total LCOA (USD/t) | 606.319

## InMo_BT_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 356.6707 | 0 | 414866.3504 | 0 | 414866.3504 | 0 | 0.13278 | 250338.6993 | 15140695.3796 | 0 | 15140695.415 | 36.4954
| wind | 555.1964 | 0 | 1521346.2534 | 0 | 1521346.2534 | 0 | 0.31281 | 1216338.451 | 30456130.8421 | 0 | 30456131.0868 | 20.0192
Link | Electrolyser | 290.9706 | 0 | 1068290.7615 | 1810662.3076 | -742371.5461 | 0 | 0.71037 | 0 | 15070775.7788 | 0 | 15070775.6984 | 14.1074
| Haber-Bosch | 15.5925 | 0 | 875999.9958 | 1192682.7542 | -316682.7585 | 0 | 0.91069 | 0 | 6810599.6497 | 9505475.9542 | 16316074.8712 | 18.6257
| ammonia | 34.1162 | 0 | 90007.8392 | 90007.8392 | 0 | 0.0003 | 0.30117 | 0 | 0 | 0.0003 | 0.0003
| hydrogen | 133.91 | 0 | 242917.2071 | 242917.2071 | 0 | 0.00011 | 0.20708 | 0 | 0 | 0.00011 | 0.00011
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -87730842.918
StorageUnit | - | 61.6979 | 0 | 15683.6458 | 16841.951 | -1158.3052 | 0 | 0.06018 | 541631.8216 | 1137929.4296 | 0 | 1137929.4299 | 72.5552
Store | ammonia | 7986.0518 | 0 | 45003.9194 | 45003.9198 | -0.0003 | 0 | 0.10313 | 0 | 76957.7711 | -0.0003 | 76957.7582 | 1.71
| hydrogen | 1879.6188 | 0 | 121458.6035 | 121458.6036 | -0.00011 | 0 | 0.1112 | 0 | 9532277.8959 | -0.00011 | 9532278.063 | 78.4817
Description | Value
Total Ammonia Output | 875999.9958
Total CAPEX | 78225366.7466
Total OPEX | 9505475.9542
Total LCOA (USD/t) | 520.7767

## InMo_CF_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 479.1676 | 0 | 550372.4217 | 0 | 550372.4217 | 0 | 0.13112 | 288486.1543 | 20340698.9404 | 0 | 20340699.057 | 36.9581
| wind | 500.8993 | 0 | 1386349.5157 | 0 | 1386349.5157 | 0 | 0.31595 | 701609.8169 | 27477582.7319 | 0 | 27477583.1141 | 19.8201
Link | Electrolyser | 307.8795 | 0 | 1068290.7615 | 1810662.3077 | -742371.5461 | 0 | 0.67136 | 0 | 15946570.7415 | 0 | 15946570.4269 | 14.9272
| Haber-Bosch | 14.7873 | 0 | 875999.9928 | 1192682.7503 | -316682.7574 | 0 | 0.96028 | 0 | 6458907.2767 | 9505475.9223 | 15964381.9287 | 18.2242
| ammonia | 37.5183 | 0 | 61344.3841 | 61344.3841 | 0 | 0.00049 | 0.18665 | 0 | 0 | 0.00049 | 0.00049
| hydrogen | 126.995 | 0 | 375080.4476 | 375080.4476 | 0 | -0.00088 | 0.33716 | 0 | 0 | -0.00088 | -0.00088
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -96737102.543
StorageUnit | - | 65.5825 | 0 | 22580.011 | 24247.6426 | -1667.6316 | 0 | 0.08151 | 576170.3754 | 1209575.6031 | 0 | 1209575.6158 | 53.5684
Store | ammonia | 14943.485 | 0 | 30672.1918 | 30672.1923 | -0.00049 | 0 | 0.35107 | 0 | 144003.2354 | -0.00049 | 144003.2887 | 4.6949
| hydrogen | 3086.7853 | 0 | 187540.2242 | 187540.2233 | 0.00088 | 0 | 0.22791 | 0 | 15654288.6699 | 0.00088 | 15654288.6782 | 83.4716
Description | Value
Total Ammonia Output | 875999.9928
Total CAPEX | 87231627.1988
Total OPEX | 9505475.9223
Total LCOA (USD/t) | 574.2385

## InMo_CF_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 476.0232 | 0 | 556933.3172 | 0 | 556933.3172 | 0 | 0.13356 | 276420.4367 | 20207217.6589 | 0 | 20207217.343 | 36.283
| wind | 356.3388 | 0 | 1379683.3804 | 0 | 1379683.3804 | 0 | 0.44199 | 357001.0674 | 19547497.4728 | 0 | 19547497.528 | 14.1681
Link | Electrolyser | 308.7049 | 0 | 1068290.7578 | 1810662.3014 | -742371.5436 | 0 | 0.66956 | 0 | 15989324.7998 | 0 | 15989325.0997 | 14.9672
| Haber-Bosch | 14.893 | 0 | 876000.0068 | 1192682.7693 | -316682.7625 | 0 | 0.95347 | 0 | 6505045.9321 | 9505476.0739 | 16010520.7465 | 18.2769
| ammonia | 37.072 | 0 | 70516.6466 | 70516.6466 | 0 | 0.00054 | 0.21714 | 0 | 0 | 0.00054 | 0.00054
| hydrogen | 127.9022 | 0 | 359253.6248 | 359253.6248 | 0 | -0.00059 | 0.32064 | 0 | 0 | -0.00059 | -0.00059
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -87662601.433
StorageUnit | - | 58.0019 | 0 | 21155.0277 | 22717.4182 | -1562.3904 | 0 | 0.086347 | 509658.7629 | 1069761.6029 | 0 | 1069761.5919 | 50.5677
Store | ammonia | 16434.728 | 0 | 35258.323 | 35258.3236 | -0.00054 | 0 | 0.35055 | 0 | 158373.6327 | -0.00054 | 158373.5312 | 4.4918
| hydrogen | 2894.652 | 0 | 179626.8127 | 179626.8121 | 0.00059 | 0 | 0.22918 | 0 | 14679905.9872 | 0.00059 | 14679905.8732 | 81.7245
Description | Value
Total Ammonia Output | 876000.0068
Total CAPEX | 78157127.0866
Total OPEX | 9505476.0739
Total LCOA (USD/t) | 520.3716

## JiLi_BC_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 525.8266 | 0 | 590073.9216 | 0 | 590073.9216 | 0 | 0.1281 | 278599.9292 | 22321378.5717 | 0 | 22321378.8541 | 37.8281
| wind | 640.0345 | 0 | 1347282.0031 | 0 | 1347282.0031 | 0 | 0.2403 | 812282.1199 | 35110050.6536 | 0 | 35110050.3255 | 26.0599
Link | Electrolyser | 318.0138 | 0 | 1068290.7596 | 1810662.3044 | -742371.5448 | 0 | 0.64996 | 0 | 16471479.426 | 0 | 16471479.6729 | 15.4185
| Haber-Bosch | 14.5987 | 0 | 875999.9731 | 1192682.7234 | -316682.7503 | 0 | 0.97269 | 0 | 6376535.4151 | 9505475.7084 | 15882009.8522 | 18.1301
| ammonia | 38.3152 | 0 | 45007.1029 | 45007.1029 | 0 | 0.0003 | 0.13409 | 0 | 0 | 0.0003 | 0.0003
| hydrogen | 125.3754 | 0 | 374961.4241 | 374961.4241 | 0 | 0.0001 | 0.34141 | 0 | 0 | 0.0001 | 0.0001
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -105470466.5011
StorageUnit | - | 81.4852 | 0 | 31164.312 | 33465.9314 | -2301.6195 | 0 | 0.090543 | 716112.208 | 1502878.5892 | 0 | 1502878.5949 | 48.2243
Store | ammonia | 10133.484 | 0 | 22503.5513 | 22503.5516 | -0.0003 | 0 | 0.37213 | 0 | 97651.5506 | -0.0003 | 97651.5447 | 4.3394
| hydrogen | 2777.3488 | 0 | 187480.712 | 187480.7121 | -0.0001 | 0 | 0.19747 | 0 | 14085015.8422 | -0.0001 | 14085016.1683 | 75.1278
Description | Value
Total Ammonia Output | 875999.9731
Total CAPEX | 95964990.0485
Total OPEX | 9505475.7084
Total LCOA (USD/t) | 626.0804

## JiLi_BC_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 490.1505 | 0 | 558630.1668 | 0 | 558630.1668 | 0 | 0.1301 | 251106.1081 | 20806922.9928 | 0 | 20806922.9433 | 37.2463
| wind | 475.5937 | 0 | 1378070.3222 | 0 | 1378070.3222 | 0 | 0.33077 | 601608.3484 | 26089402.8907 | 0 | 26089402.7833 | 18.9318
Link | Electrolyser | 317.0458 | 0 | 1068290.7542 | 1810662.2953 | -742371.5411 | 0 | 0.65195 | 0 | 16421340.976 | 0 | 16421341.6867 | 15.3716
| Haber-Bosch | 14.5971 | 0 | 876000.0075 | 1192682.7702 | -316682.7627 | 0 | 0.9728 | 0 | 6375818.2113 | 9505476.0814 | 15881292.8868 | 18.1293
| ammonia | 38.3221 | 0 | 44559.6892 | 44559.6892 | 0 | 5e-05 | 0.13274 | 0 | 0 | 5e-05 | 5e-05
| hydrogen | 125.3613 | 0 | 360936.9304 | 360936.9304 | 0 | 0.00049 | 0.32867 | 0 | 0 | 0.00049 | 0.00055
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -94130434.8485
StorageUnit | - | 59.4181 | 0 | 22289.6189 | 23935.8039 | -1646.1849 | 0 | 0.088809 | 522148.8285 | 1095882.1447 | 0 | 1095882.1395 | 49.1655
Store | ammonia | 10006.064 | 0 | 22279.8446 | 22279.8446 | -5e-05 | 0 | 0.36038 | 0 | 96423.6649 | -5e-05 | 96423.6558 | 4.3278
| hydrogen | 2709.1531 | 0 | 180468.4649 | 180468.4654 | -0.00049 | 0 | 0.19587 | 0 | 13739168.9271 | -0.00049 | 13739168.9129 | 76.1306
Description | Value
Total Ammonia Output | 876000.0075
Total CAPEX | 84624959.8075
Total OPEX | 9505476.0814
Total LCOA (USD/t) | 558.7651

## LiNi_CY_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 400.5224 | 0 | 407214.1329 | 0 | 407214.1329 | 0 | 0.11606 | 258056.7906 | 17002206.1958 | 0 | 17002206.3417 | 41.7525
| wind | 999.5322 | 0 | 1529125.4478 | 0 | 1529125.4478 | 0 | 0.17464 | 2217098.1387 | 54830832.6666 | 0 | 54830833.0592 | 35.8576
Link | Electrolyser | 309.6619 | 0 | 1068290.7529 | 1810662.293 | -742371.5401 | 0 | 0.66749 | 0 | 16038889.3629 | 0 | 16038888.2162 | 15.0136
| Haber-Bosch | 14.468 | 0 | 875999.9934 | 1192682.751 | -316682.7576 | 0 | 0.98148 | 0 | 6319415.5045 | 9505475.9285 | 15824891.9032 | 18.0649
| ammonia | 38.8678 | 0 | 30946.0051 | 30946.0051 | 0 | -0.00035 | 0.090889 | 0 | 0 | -0.00035 | -0.00035
| hydrogen | 124.2523 | 0 | 330420.411 | 330420.411 | 0 | -0.00072 | 0.30357 | 0 | 0 | -0.00072 | -0.00072
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -115798398.6337
StorageUnit | - | 68.1189 | 0 | 17402.7672 | 18688.0369 | -1285.2697 | 0 | 0.060482 | 598007.0089 | 1256356.1538 | 0 | 1256356.1625 | 72.1928
Store | ammonia | 7431.342 | 0 | 15473.0027 | 15473.0024 | 0.00035 | 0 | 0.35519 | 0 | 71612.2974 | 0.00035 | 71612.3319 | 4.6282
| hydrogen | 2124.3904 | 0 | 165210.2059 | 165210.2051 | 0.00072 | 0 | 0.13943 | 0 | 10773609.8682 | 0.00072 | 10773610.039 | 65.2115
Description | Value
Total Ammonia Output | 875999.9934
Total CAPEX | 106292922.0491
Total OPEX | 9505475.9285
Total LCOA (USD/t) | 687.3878

## LiNi_CY_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 360.0174 | 0 | 372614.171 | 0 | 372614.171 | 0 | 0.11815 | 225377.5607 | 15282764.3107 | 0 | 15282764.1932 | 41.015
| wind | 696.8347 | 0 | 1563190.5801 | 0 | 1563190.5801 | 0 | 0.25608 | 1599117.2016 | 38225911.7051 | 0 | 38225911.6181 | 24.4538
Link | Electrolyser | 307.5863 | 0 | 1068290.7684 | 1810662.3194 | -742371.5509 | 0 | 0.672 | 0 | 15931385.0096 | 0 | 15931385.0119 | 14.913
| Haber-Bosch | 14.4903 | 0 | 875999.9741 | 1192682.7248 | -316682.7507 | 0 | 0.97996 | 0 | 6329181.619 | 9505475.7192 | 15834656.4194 | 18.0761
| ammonia | 38.7733 | 0 | 33109.6002 | 33109.6002 | 0 | 0.00017 | 0.09748 | 0 | 0 | 0.00017 | 0.00017
| hydrogen | 124.4443 | 0 | 316366.2236 | 316366.2236 | 0 | 0.00056 | 0.29021 | 0 | 0 | 0.00056 | 0.00056
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -96503016.2263
StorageUnit | - | 35.4881 | 0 | 10161.2266 | 10911.6773 | -750.4506 | 0 | 0.067786 | 311626.3818 | 654527.6694 | 0 | 654527.6667 | 64.4141
Store | ammonia | 7598.3423 | 0 | 16554.8 | 16554.8002 | -0.00017 | 0 | 0.34082 | 0 | 73221.5996 | -0.00017 | 73221.5814 | 4.423
| hydrogen | 2070.5468 | 0 | 158183.1115 | 158183.1121 | -0.00056 | 0 | 0.14059 | 0 | 10500548.0335 | -0.00056 | 10500548.235 | 66.3822
Description | Value
Total Ammonia Output | 875999.9741
Total CAPEX | 86997539.9469
Total OPEX | 9505475.7192
Total LCOA (USD/t) | 572.849