## LCOA Overview
LCOA Results from PyPSA Optimization
Wind turbine | Vestas_V90_2000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633
Inner Mongolia | Chifeng | 42.7852 | 118.7646
Liaoning | Chaoyang | 41.6807 | 120.7899
Jilin | Baicheng | 45.3733 | 122.9395
Wind turbine | Goldwind_140_3000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633
Inner Mongolia | Chifeng | 42.7852 | 118.7646
Liaoning | Chaoyang | 41.6807 | 120.7899
Jilin | Baicheng | 45.3733 | 122.9395
LCOA Averages built from different wind turbines
Province | City | Sheet_Code | Longitude | Latitude | Total LCOM (USD/t)
Unit |  |  |  |  | USD/t
Inner Mongolia | Baotou | InMo_BT_VE | 41.6401 | 109.8633
Inner Mongolia | Chifeng | InMo_CF_VE | 42.7852 | 118.7646
Liaoning | Chaoyang | LiNi_CY_VE | 41.6807 | 120.7899
Jilin | Baicheng | JiLi_BC_VE | 45.3733 | 122.9395
Average | China

## InMo_BT_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 357.3715 | 0 | 526231.6441 | 0 | 526231.6441 | 0 | 0.16809 | 140280.5401 | 17009737.5108 | 0 | 17009737.6695 | 32.3237
| wind | 433.5943 | 0 | 1410916.9986 | 0 | 1410916.9986 | 0 | 0.37146 | 278240.8107 | 28832901.8709 | 0 | 28832901.8397 | 20.4356
Link | Electrolyser | 285.3613 | 0 | 1068290.7558 | 1810662.2979 | -742371.5422 | 0 | 0.72433 | 0 | 25006337.7386 | 0 | 25006337.4037 | 23.4078
| Haber-Bosch | 131.8689 | 0 | 875999.9972 | 1192682.7562 | -316682.759 | 0 | 0.92479 | 0 | 9914635.3452 | 11592023 | 21506660.7697 | 24.551
| ammonia | 35.1204 | 0 | 111809.6034 | 111809.6034 | 0 | -0.00023409 | 0.36343 | 0 | 0 | -0.00023409 | -0.00023411 | -2.0934e-09
| hydrogen | 131.8689 | 0 | 342256.4424 | 342256.4424 | 0 | 0.0014471 | 0.29628 | 0 | 0 | 0.0014471 | 0.0014471 | 4.2281e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -103475435.08
StorageUnit | - | 55.5294 | 0 | 28357.699 | 30452.0379 | -2094.3389 | 0 | 0.1209 | 0 | 1142295.2996 | 0 | 1142295.3075 | 40.2817
Store | ammonia | 18886.688 | 0 | 55904.8018 | 55904.8016 | 0.00023409 | 0 | 0.51908 | 0 | 2151726.3732 | 0.00023409 | 2151726.3784 | 38.4891
| hydrogen | 4891.369 | 0 | 171128.2205 | 171128.2219 | -0.0014471 | 0 | 0.35131 | 0 | 7825775.4215 | -0.0014471 | 7825775.3703 | 45.7305
Description | Value
Total Ammonia Output | 875999.9972
Total CAPEX | 91883409.5597
Total OPEX | 11592023
Total LCOA (USD/t) | 614.2377

## InMo_BT_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 250.766 | 0 | 352213.7195 | 0 | 352213.7195 | 0 | 0.16034 | 115474.8835 | 11935656.3907 | 0 | 11935656.2245 | 33.8875
| wind | 380.9148 | 0 | 1583892.5473 | 0 | 1583892.5473 | 0 | 0.47467 | 294405.8527 | 25329847.4166 | 0 | 25329847.0221 | 15.9921
Link | Electrolyser | 266.2886 | 0 | 1068290.7518 | 1810662.2911 | -742371.5394 | 0 | 0.77621 | 0 | 23334985.1013 | 0 | 23334985.3245 | 21.8433
| Haber-Bosch | 130.603 | 0 | 876000.0153 | 1192682.7809 | -316682.7655 | 0 | 0.93375 | 0 | 9819463.9547 | 11592023.2395 | 21411487.8576 | 24.4423
| ammonia | 35.7432 | 0 | 100701.0465 | 100701.0465 | 0 | -0.00016362 | 0.32162 | 0 | 0 | -0.00016362 | -0.0001636 | -1.6243e-09
| hydrogen | 130.603 | 0 | 280235.9324 | 280235.9324 | 0 | -0.00047079 | 0.24494 | 0 | 0 | -0.00047079 | -0.0004708 | -1.6799e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -91954521.9442
StorageUnit | - | 28.1598 | 0 | 14243.7463 | 15295.7087 | -1051.9624 | 0 | 0.11975 | 0 | 579275.3161 | 0 | 579275.3135 | 40.6687
Store | ammonia | 17964.476 | 0 | 50350.5233 | 50350.5232 | 0.00016362 | 0 | 0.48401 | 0 | 2046660.4198 | 0.00016362 | 2046660.409 | 40.6482
| hydrogen | 4573.124 | 0 | 140117.9664 | 140117.9659 | 0.00047079 | 0 | 0.37181 | 0 | 7316610.421 | 0.00047079 | 7316610.4209 | 52.2175
Description | Value
Total Ammonia Output | 876000.0153
Total CAPEX | 80362499.0202
Total OPEX | 11592023.2395
Total LCOA (USD/t) | 545.8488

## InMo_CF_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 419.4555 | 0 | 545515.6333 | 0 | 545515.6333 | 0 | 0.14846 | 188807.4802 | 19964735.2491 | 0 | 19964735.3115 | 36.5979
| wind | 413.6093 | 0 | 1391263.8092 | 0 | 1391263.8092 | 0 | 0.38399 | 332833.8093 | 27503947.0836 | 0 | 27503947.3218 | 19.769
Link | Electrolyser | 291.6287 | 0 | 1068290.7642 | 1810662.3122 | -742371.548 | 0 | 0.70877 | 0 | 25555553.6474 | 0 | 25555552.8065 | 23.9219
| Haber-Bosch | 132.2521 | 0 | 875999.9785 | 1192682.7307 | -316682.7522 | 0 | 0.92211 | 0 | 9943447.2051 | 11592022.7523 | 21535469.2314 | 24.5839
| ammonia | 34.9319 | 0 | 113150.7644 | 113150.7644 | 0 | -0.00069073 | 0.36977 | 0 | 0 | -0.00069073 | -0.00069077 | -6.1043e-09
| hydrogen | 132.2521 | 0 | 353533.8296 | 353533.8296 | 0 | -0.0003803 | 0.30516 | 0 | 0 | -0.0003803 | -0.00038024 | -1.0756e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -106400833.704
StorageUnit | - | 53.3739 | 0 | 23358.6245 | 25083.7602 | -1725.1356 | 0 | 0.10361 | 0 | 1097955.5244 | 0 | 1097955.5172 | 47.0043
Store | ammonia | 33171.925 | 0 | 56575.3826 | 56575.3819 | 0.00069073 | 0 | 0.46384 | 0 | 3779217.7153 | 0.00069073 | 3779217.6267 | 66.7997
| hydrogen | 4352.7029 | 0 | 176766.915 | 176766.9146 | 0.0003803 | 0 | 0.31615 | 0 | 6963955.3613 | 0.0003803 | 6963955.3562 | 39.3963
Description | Value
Total Ammonia Output | 875999.9785
Total CAPEX | 94808811.7862
Total OPEX | 11592022.7523
Total LCOA (USD/t) | 631.6031

## InMo_CF_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 334.6601 | 0 | 425680.4857 | 0 | 425680.4857 | 0 | 0.1452 | 160194.8275 | 15928744.8981 | 0 | 15928744.985 | 37.4195
| wind | 373.168 | 0 | 1510691.9412 | 0 | 1510691.9412 | 0 | 0.46213 | 308012.7452 | 24814705.2581 | 0 | 24814705.5675 | 16.4261
Link | Electrolyser | 278.5254 | 0 | 1068290.7679 | 1810662.3184 | -742371.5505 | 0 | 0.74211 | 0 | 24407304.7998 | 0 | 24407305.1288 | 22.8471
| Haber-Bosch | 130.7798 | 0 | 875999.9978 | 1192682.757 | -316682.7592 | 0 | 0.93249 | 0 | 9832755.2587 | 11592023.008 | 21424778.5355 | 24.4575
| ammonia | 35.6562 | 0 | 100703.175 | 100703.175 | 0 | -0.0002622 | 0.32241 | 0 | 0 | -0.0002622 | -0.00026221 | -2.604e-09
| hydrogen | 130.7798 | 0 | 319230.9654 | 319230.9654 | 0 | 0.0014636 | 0.27865 | 0 | 0 | 0.0014636 | 0.0014636 | 4.5848e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -97950135.4214
StorageUnit | - | 43.781 | 0 | 17847.5284 | 19165.6457 | -1318.1173 | 0 | 0.096509 | 0 | 900618.7676 | 0 | 900618.7813 | 50.4618
Store | ammonia | 31960.412 | 0 | 50351.5876 | 50351.5874 | 0.0002622 | 0 | 0.46814 | 0 | 3641192.2196 | 0.0002622 | 3641192.3581 | 72.3153
| hydrogen | 4270.7204 | 0 | 159615.482 | 159615.4834 | -0.0014636 | 0 | 0.32571 | 0 | 6832790.3166 | -0.0014636 | 6832790.3161 | 42.8078
Description | Value
Total Ammonia Output | 875999.9978
Total CAPEX | 86358111.5186
Total OPEX | 11592023.008
Total LCOA (USD/t) | 581.4392

## JiLi_BC_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 491.0377 | 0 | 632556.6197 | 0 | 632556.6197 | 0 | 0.14706 | 178645.3726 | 23371818.7305 | 0 | 23371818.7325 | 36.9482
| wind | 466.7634 | 0 | 1306077.9622 | 0 | 1306077.9622 | 0 | 0.31942 | 268845.5981 | 31038556.5553 | 0 | 31038556.5398 | 23.7647
Link | Electrolyser | 296.0577 | 0 | 1068290.7585 | 1810662.3025 | -742371.544 | 0 | 0.69816 | 0 | 25943667.9989 | 0 | 25943667.8072 | 24.2852
| Haber-Bosch | 131.7058 | 0 | 876000.0184 | 1192682.785 | -316682.7666 | 0 | 0.92593 | 0 | 9902376.339 | 11592023.2797 | 21494398.5077 | 24.537
| ammonia | 35.2006 | 0 | 108404.7158 | 108404.7158 | 0 | -0.00092002 | 0.35156 | 0 | 0 | -0.00092002 | -0.00092001 | -8.4868e-09
| hydrogen | 131.7058 | 0 | 364178.8738 | 364178.8738 | 0 | -5.2143e-05 | 0.31565 | 0 | 0 | -5.2143e-05 | -5.2229e-05 | -1.4319e-10
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -114583742.4677
StorageUnit | - | 89.7446 | 0 | 48477.6085 | 52057.8898 | -3580.2813 | 0 | 0.12788 | 0 | 1846135.6898 | 0 | 1846135.6996 | 38.0822
Store | ammonia | 25462.197 | 0 | 54202.3583 | 54202.3574 | 0.00092002 | 0 | 0.42768 | 0 | 2900862.2796 | 0.00092002 | 2900862.316 | 53.5191
| hydrogen | 4992.9548 | 0 | 182089.4369 | 182089.4369 | 5.2143e-05 | 0 | 0.29129 | 0 | 7988304.0831 | 5.2143e-05 | 7988303.9366 | 43.8702
Description | Value
Total Ammonia Output | 876000.0184
Total CAPEX | 102991721.6761
Total OPEX | 11592023.2797
Total LCOA (USD/t) | 680.1775

## JiLi_BC_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 405.1821 | 0 | 517885.7854 | 0 | 517885.7854 | 0 | 0.14591 | 151481.3438 | 19285365.7859 | 0 | 19285365.9423 | 37.2386
| wind | 415.4485 | 0 | 1418902.9252 | 0 | 1418902.9252 | 0 | 0.38988 | 310418.9107 | 27626250.4554 | 0 | 27626250.5166 | 19.4701
Link | Electrolyser | 282.3282 | 0 | 1068290.7503 | 1810662.2886 | -742371.5383 | 0 | 0.73211 | 0 | 24740548.4737 | 0 | 24740549.0061 | 23.159
| Haber-Bosch | 129.9627 | 0 | 876000.0067 | 1192682.7691 | -316682.7624 | 0 | 0.93835 | 0 | 9771318.1271 | 11592023.1255 | 21363340.4635 | 24.3874
| ammonia | 36.0582 | 0 | 93029.0873 | 93029.0873 | 0 | 0.00040605 | 0.29452 | 0 | 0 | 0.00040605 | 0.00040608 | 4.3651e-09
| hydrogen | 129.9627 | 0 | 330518.9421 | 330518.9421 | 0 | -0.001069 | 0.29032 | 0 | 0 | -0.001069 | -0.0010689 | -3.234e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -104676053.7248
StorageUnit | - | 41.2863 | 0 | 23484.0647 | 25218.4646 | -1734.3999 | 0 | 0.13466 | 0 | 849301.2454 | 0 | 849301.2461 | 36.165
Store | ammonia | 23299.948 | 0 | 46514.5434 | 46514.5438 | -0.00040605 | 0 | 0.44947 | 0 | 2654521.1424 | -0.00040605 | 2654521.1212 | 57.0686
| hydrogen | 5098.2236 | 0 | 165259.4716 | 165259.4705 | 0.001069 | 0 | 0.28125 | 0 | 8156725.2322 | 0.001069 | 8156725.5565 | 49.3571
Description | Value
Total Ammonia Output | 876000.0067
Total CAPEX | 93084030.4621
Total OPEX | 11592023.1255
Total LCOA (USD/t) | 621.3647

## LiNi_CY_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 466.1744 | 0 | 562647.4985 | 0 | 562647.4985 | 0 | 0.13778 | 211671.899 | 22188406.3913 | 0 | 22188406.5318 | 39.4357
| wind | 467.1495 | 0 | 1374654.2494 | 0 | 1374654.2494 | 0 | 0.33592 | 376211.3346 | 31064233.2013 | 0 | 31064233.0972 | 22.5979
Link | Electrolyser | 298.9959 | 0 | 1068290.7576 | 1810662.3011 | -742371.5434 | 0 | 0.6913 | 0 | 26201143.7637 | 0 | 26201144.618 | 24.5262
| Haber-Bosch | 131.2851 | 0 | 876000.009 | 1192682.7723 | -316682.7633 | 0 | 0.9289 | 0 | 9870741.2611 | 11592023.1561 | 21462765.022 | 24.5009
| ammonia | 35.4076 | 0 | 104835.3081 | 104835.3081 | 0 | -0.0002678 | 0.33799 | 0 | 0 | -0.0002678 | -0.00026788 | -2.5549e-09
| hydrogen | 131.2851 | 0 | 353931.3765 | 353931.3765 | 0 | 0.0010789 | 0.30775 | 0 | 0 | 0.0010789 | 0.0010789 | 3.0484e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -111219098.9592
StorageUnit | - | 66.6394 | 0 | 30430.7602 | 32678.2037 | -2247.4435 | 0 | 0.10811 | 0 | 1370840.3505 | 0 | 1370840.349 | 45.0479
Store | ammonia | 28286.994 | 0 | 52417.6542 | 52417.6539 | 0.0002678 | 0 | 0.40988 | 0 | 3222686.3179 | 0.0002678 | 3222686.5027 | 61.4809
| hydrogen | 3568.3288 | 0 | 176965.6877 | 176965.6888 | -0.0010789 | 0 | 0.28897 | 0 | 5709023.3468 | -0.0010789 | 5709023.1898 | 32.2606
Description | Value
Total Ammonia Output | 876000.009
Total CAPEX | 99627074.6327
Total OPEX | 11592023.1561
Total LCOA (USD/t) | 660.2047

## LiNi_CY_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 343.5238 | 0 | 418320.1787 | 0 | 418320.1787 | 0 | 0.13901 | 152275.5843 | 16350630.9535 | 0 | 16350630.8271 | 39.0864
| wind | 419.3676 | 0 | 1518065.9436 | 0 | 1518065.9436 | 0 | 0.41323 | 385067.2872 | 27886858.4715 | 0 | 27886858.5036 | 18.37
Link | Electrolyser | 282.0899 | 0 | 1068290.7684 | 1810662.3193 | -742371.5509 | 0 | 0.73273 | 0 | 24719667.0157 | 0 | 24719667.1247 | 23.1395
| Haber-Bosch | 130.8969 | 0 | 876000.0151 | 1192682.7806 | -316682.7655 | 0 | 0.93166 | 0 | 9841556.4808 | 11592023.2368 | 21433579.805 | 24.4676
| ammonia | 35.5986 | 0 | 100991.2283 | 100991.2283 | 0 | -0.00059522 | 0.32385 | 0 | 0 | -0.00059522 | -0.00059528 | -5.8933e-09
| hydrogen | 130.8969 | 0 | 311401.7048 | 311401.7048 | 0 | 0.00090483 | 0.27157 | 0 | 0 | 0.00090483 | 0.00090485 | 2.9056e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -101123915.4402
StorageUnit | - | 39.682 | 0 | 18032.9654 | 19364.778 | -1331.8126 | 0 | 0.10758 | 0 | 816298.4602 | 0 | 816298.4579 | 45.267
Store | ammonia | 27648.721 | 0 | 50495.6144 | 50495.6138 | 0.00059522 | 0 | 0.41286 | 0 | 3149969.0238 | 0.00059522 | 3149969.0849 | 62.381
| hydrogen | 4229.545 | 0 | 155700.8519 | 155700.8528 | -0.00090483 | 0 | 0.27489 | 0 | 6766913.1699 | -0.00090483 | 6766912.9192 | 43.461
Description | Value
Total Ammonia Output | 876000.0151
Total CAPEX | 89531893.5754
Total OPEX | 11592023.2368
Total LCOA (USD/t) | 600.2789