## LCOA Overview
LCOA Results from PyPSA Optimization
Wind turbine | Vestas_V90_2000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633
Inner Mongolia | Chifeng | 42.7852 | 118.7646
Liaoning | Chaoyang | 41.6807 | 120.7899
Jilin | Baicheng | 45.3733 | 122.9395
Wind turbine | Goldwind_140_3000 | [6 empty] | Cost Components | [5 empty] | capacity factor
Province | City | Latitude | Longitude | Total CAPEX | Total OPEX | Total Ammonia Output | Total LCOA (USD/t) | Electricity generation | Electrolysis | Electricity storage | H2 storage | Ammonia Production | Other | PV | wind
Unit |  |  |  | USD | USD | MWh | USD/t | USD/t
Inner Mongolia | Baotou | 41.6401 | 109.8633
Inner Mongolia | Chifeng | 42.7852 | 118.7646
Liaoning | Chaoyang | 41.6807 | 120.7899
Jilin | Baicheng | 45.3733 | 122.9395
LCOA Averages built from different wind turbines
Province | City | Sheet_Code | Longitude | Latitude | Total LCOM (USD/t)
Unit |  |  |  |  | USD/t
Inner Mongolia | Baotou | InMo_BT_VE | 41.6401 | 109.8633
Inner Mongolia | Chifeng | InMo_CF_VE | 42.7852 | 118.7646
Liaoning | Chaoyang | LiNi_CY_VE | 41.6807 | 120.7899
Jilin | Baicheng | JiLi_BC_VE | 45.3733 | 122.9395
Average | China

## InMo_BT_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 357.3715 | 0 | 526231.6441 | 0 | 526231.6441 | 0 | 0.16809 | 140280.5401 | 17009737.5108 | 0 | 17009737.6695 | 32.3237
| wind | 433.5943 | 0 | 1410916.9986 | 0 | 1410916.9986 | 0 | 0.37146 | 278240.8107 | 28832901.8709 | 0 | 28832901.8397 | 20.4356
Link | Electrolyser | 285.3613 | 0 | 1068290.7558 | 1810662.2979 | -742371.5422 | 0 | 0.72433 | 0 | 25006337.7386 | 0 | 25006337.4037 | 23.4078
| Haber-Bosch | 131.8689 | 0 | 875999.9972 | 1192682.7562 | -316682.759 | 0 | 0.92479 | 0 | 9914635.3452 | 11592023 | 21506660.7697 | 24.551
| ammonia | 35.1204 | 0 | 111809.6034 | 111809.6034 | 0 | -0.00023409 | 0.36343 | 0 | 0 | -0.00023409 | -0.00023411 | -2.0934e-09
| hydrogen | 131.8689 | 0 | 342256.4424 | 342256.4424 | 0 | 0.0014471 | 0.29628 | 0 | 0 | 0.0014471 | 0.0014471 | 4.2281e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -103475435.08
StorageUnit | - | 55.5294 | 0 | 28357.699 | 30452.0379 | -2094.3389 | 0 | 0.1209 | 0 | 1142295.2996 | 0 | 1142295.3075 | 40.2817
Store | ammonia | 18886.688 | 0 | 55904.8018 | 55904.8016 | 0.00023409 | 0 | 0.51908 | 0 | 2151726.3732 | 0.00023409 | 2151726.3784 | 38.4891
| hydrogen | 4891.369 | 0 | 171128.2205 | 171128.2219 | -0.0014471 | 0 | 0.35131 | 0 | 7825775.4215 | -0.0014471 | 7825775.3703 | 45.7305
Description | Value
Total Ammonia Output | 875999.9972
Total CAPEX | 91883409.5597
Total OPEX | 11592023
Total LCOA (USD/t) | 614.2377

## InMo_BT_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 250.766 | 0 | 352213.7195 | 0 | 352213.7195 | 0 | 0.16034 | 115474.8835 | 11935656.3907 | 0 | 11935656.2245 | 33.8875
| wind | 380.9148 | 0 | 1583892.5473 | 0 | 1583892.5473 | 0 | 0.47467 | 294405.8527 | 25329847.4166 | 0 | 25329847.0221 | 15.9921
Link | Electrolyser | 266.2886 | 0 | 1068290.7518 | 1810662.2911 | -742371.5394 | 0 | 0.77621 | 0 | 23334985.1013 | 0 | 23334985.3245 | 21.8433
| Haber-Bosch | 130.603 | 0 | 876000.0153 | 1192682.7809 | -316682.7655 | 0 | 0.93375 | 0 | 9819463.9547 | 11592023.2395 | 21411487.8576 | 24.4423
| ammonia | 35.7432 | 0 | 100701.0465 | 100701.0465 | 0 | -0.00016362 | 0.32162 | 0 | 0 | -0.00016362 | -0.0001636 | -1.6243e-09
| hydrogen | 130.603 | 0 | 280235.9324 | 280235.9324 | 0 | -0.00047079 | 0.24494 | 0 | 0 | -0.00047079 | -0.0004708 | -1.6799e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -91954521.9442
StorageUnit | - | 28.1598 | 0 | 14243.7463 | 15295.7087 | -1051.9624 | 0 | 0.11975 | 0 | 579275.3161 | 0 | 579275.3135 | 40.6687
Store | ammonia | 17964.476 | 0 | 50350.5233 | 50350.5232 | 0.00016362 | 0 | 0.48401 | 0 | 2046660.4198 | 0.00016362 | 2046660.409 | 40.6482
| hydrogen | 4573.124 | 0 | 140117.9664 | 140117.9659 | 0.00047079 | 0 | 0.37181 | 0 | 7316610.421 | 0.00047079 | 7316610.4209 | 52.2175
Description | Value
Total Ammonia Output | 876000.0153
Total CAPEX | 80362499.0202
Total OPEX | 11592023.2395
Total LCOA (USD/t) | 545.8488

## InMo_CF_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 419.4555 | 0 | 545515.6333 | 0 | 545515.6333 | 0 | 0.14846 | 188807.4802 | 19964735.2491 | 0 | 19964735.3115 | 36.5979
| wind | 413.6093 | 0 | 1391263.8092 | 0 | 1391263.8092 | 0 | 0.38399 | 332833.8093 | 27503947.0836 | 0 | 27503947.3218 | 19.769
Link | Electrolyser | 291.6287 | 0 | 1068290.7642 | 1810662.3122 | -742371.548 | 0 | 0.70877 | 0 | 25555553.6474 | 0 | 25555552.8065 | 23.9219
| Haber-Bosch | 132.2521 | 0 | 875999.9785 | 1192682.7307 | -316682.7522 | 0 | 0.92211 | 0 | 9943447.2051 | 11592022.7523 | 21535469.2314 | 24.5839
| ammonia | 34.9319 | 0 | 113150.7644 | 113150.7644 | 0 | -0.00069073 | 0.36977 | 0 | 0 | -0.00069073 | -0.00069077 | -6.1043e-09
| hydrogen | 132.2521 | 0 | 353533.8296 | 353533.8296 | 0 | -0.0003803 | 0.30516 | 0 | 0 | -0.0003803 | -0.00038024 | -1.0756e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -106400833.704
StorageUnit | - | 53.3739 | 0 | 23358.6245 | 25083.7602 | -1725.1356 | 0 | 0.10361 | 0 | 1097955.5244 | 0 | 1097955.5172 | 47.0043
Store | ammonia | 33171.925 | 0 | 56575.3826 | 56575.3819 | 0.00069073 | 0 | 0.46384 | 0 | 3779217.7153 | 0.00069073 | 3779217.6267 | 66.7997
| hydrogen | 4352.7029 | 0 | 176766.915 | 176766.9146 | 0.0003803 | 0 | 0.31615 | 0 | 6963955.3613 | 0.0003803 | 6963955.3562 | 39.3963
Description | Value
Total Ammonia Output | 875999.9785
Total CAPEX | 94808811.7862
Total OPEX | 11592022.7523
Total LCOA (USD/t) | 631.6031

## InMo_CF_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 334.6601 | 0 | 425680.4857 | 0 | 425680.4857 | 0 | 0.1452 | 160194.8275 | 15928744.8981 | 0 | 15928744.985 | 37.4195
| wind | 373.168 | 0 | 1510691.9412 | 0 | 1510691.9412 | 0 | 0.46213 | 308012.7452 | 24814705.2581 | 0 | 24814705.5675 | 16.4261
Link | Electrolyser | 278.5254 | 0 | 1068290.7679 | 1810662.3184 | -742371.5505 | 0 | 0.74211 | 0 | 24407304.7998 | 0 | 24407305.1288 | 22.8471
| Haber-Bosch | 130.7798 | 0 | 875999.9978 | 1192682.757 | -316682.7592 | 0 | 0.93249 | 0 | 9832755.2587 | 11592023.008 | 21424778.5355 | 24.4575
| ammonia | 35.6562 | 0 | 100703.175 | 100703.175 | 0 | -0.0002622 | 0.32241 | 0 | 0 | -0.0002622 | -0.00026221 | -2.604e-09
| hydrogen | 130.7798 | 0 | 319230.9654 | 319230.9654 | 0 | 0.0014636 | 0.27865 | 0 | 0 | 0.0014636 | 0.0014636 | 4.5848e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -97950135.4214
StorageUnit | - | 43.781 | 0 | 17847.5284 | 19165.6457 | -1318.1173 | 0 | 0.096509 | 0 | 900618.7676 | 0 | 900618.7813 | 50.4618
Store | ammonia | 31960.412 | 0 | 50351.5876 | 50351.5874 | 0.0002622 | 0 | 0.46814 | 0 | 3641192.2196 | 0.0002622 | 3641192.3581 | 72.3153
| hydrogen | 4270.7204 | 0 | 159615.482 | 159615.4834 | -0.0014636 | 0 | 0.32571 | 0 | 6832790.3166 | -0.0014636 | 6832790.3161 | 42.8078
Description | Value
Total Ammonia Output | 875999.9978
Total CAPEX | 86358111.5186
Total OPEX | 11592023.008
Total LCOA (USD/t) | 581.4392

## JiLi_BC_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 498.0604 | 0 | 641301.0951 | 0 | 641301.0951 | 0 | 0.14699 | 181502.4423 | 23706074.8101 | 0 | 23706074.9509 | 36.9656
| wind | 473.2787 | 0 | 1324724.0221 | 0 | 1324724.0221 | 0 | 0.31952 | 272183.0855 | 31471807.8147 | 0 | 31471807.5424 | 23.7573
Link | Electrolyser | 297.0629 | 0 | 1068290.7519 | 1810662.2913 | -742371.5394 | 0 | 0.6958 | 0 | 26031750.614 | 0 | 26031751.4774 | 24.3677
| Haber-Bosch | 131.7044 | 0 | 876000.0208 | 1219988.0769 | -343988.0561 | 0 | 0.92594 | 0 | 9902271.0792 | 11592023.3119 | 21494293.6071 | 24.5369
| ammonia | 35.2013 | 0 | 108450.684 | 108450.684 | 0 | -0.00049715 | 0.3517 | 0 | 0 | -0.00049715 | -0.00049717 | -4.5844e-09
| hydrogen | 131.7044 | 0 | 368680.8248 | 368680.8248 | 0 | -0.0011966 | 0.31956 | 0 | 0 | -0.0011966 | -0.0011966 | -3.2455e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -115586113.5559
StorageUnit | - | 91.3324 | 0 | 49631.8246 | 53297.3498 | -3665.5252 | 0 | 0.12865 | 0 | 1878799.835 | 0 | 1878799.8443 | 37.8547
Store | ammonia | 25460.487 | 0 | 54225.3423 | 54225.3418 | 0.00049715 | 0 | 0.42776 | 0 | 2900667.4623 | 0.00049715 | 2900667.5705 | 53.4928
| hydrogen | 5064.4683 | 0 | 184340.413 | 184340.4118 | 0.0011966 | 0 | 0.2912 | 0 | 8102719.6159 | 0.0011966 | 8102719.5558 | 43.9552
Description | Value
Total Ammonia Output | 876000.0208
Total CAPEX | 103994091.2313
Total OPEX | 11592023.3119
Total LCOA (USD/t) | 686.1276

## JiLi_BC_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Dispatch | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 410.8875 | 0 | 525176.0648 | 0 | 525176.0648 | 0 | 0.14591 | 153616.5412 | 19556926.4206 | 0 | 19556926.6688 | 37.2388
| wind | 421.2985 | 0 | 1438971.2114 | 0 | 1438971.2114 | 0 | 0.3899 | 314701.5324 | 28015260.9861 | 0 | 28015260.7252 | 19.469
Link | Electrolyser | 283.1952 | 0 | 1068290.7692 | 1810662.3207 | -742371.5515 | 0 | 0.72987 | 0 | 24816524.9433 | 0 | 24816524.5146 | 23.2301
| Haber-Bosch | 129.9612 | 0 | 876000.015 | 1219988.0689 | -343988.0538 | 0 | 0.93836 | 0 | 9771203.0931 | 11592023.2356 | 21363227.6892 | 24.3872
| ammonia | 36.059 | 0 | 93063.3353 | 93063.3353 | 0 | 0.00021077 | 0.29462 | 0 | 0 | 0.00021077 | 0.00021075 | 2.2646e-09
| hydrogen | 129.9612 | 0 | 334995.339 | 334995.339 | 0 | -0.0017274 | 0.29425 | 0 | 0 | -0.0017274 | -0.0017273 | -5.1565e-09
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -105550043.816
StorageUnit | - | 42.1803 | 0 | 24205.5422 | 25993.2263 | -1787.6842 | 0 | 0.13586 | 0 | 867692.2392 | 0 | 867692.2366 | 35.8468
Store | ammonia | 23291.932 | 0 | 46531.6675 | 46531.6677 | -0.00021077 | 0 | 0.44928 | 0 | 2653607.894 | -0.00021077 | 2653607.9089 | 57.028
| hydrogen | 5173.2775 | 0 | 167497.6704 | 167497.6686 | 0.0017274 | 0 | 0.28231 | 0 | 8276805.1047 | 0.0017274 | 8276805.1803 | 49.4144
Description | Value
Total Ammonia Output | 876000.015
Total CAPEX | 93958020.6809
Total OPEX | 11592023.2356
Total LCOA (USD/t) | 626.5528

## LiNi_CY_VE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 400.5224 | 0 | 407214.1329 | 0 | 407214.1329 | 0 | 0.11606 | 258056.7906 | 17002206.1958 | 0 | 17002206.3417 | 41.7525
| wind | 999.5322 | 0 | 1529125.4478 | 0 | 1529125.4478 | 0 | 0.17464 | 2217098.1387 | 54830832.6666 | 0 | 54830833.0592 | 35.8576
Link | Electrolyser | 309.6619 | 0 | 1068290.7529 | 1810662.293 | -742371.5401 | 0 | 0.66749 | 0 | 16038889.3629 | 0 | 16038888.2162 | 15.0136
| Haber-Bosch | 14.468 | 0 | 875999.9934 | 1192682.751 | -316682.7576 | 0 | 0.98148 | 0 | 6319415.5045 | 9505475.9285 | 15824891.9032 | 18.0649
| ammonia | 38.8678 | 0 | 30946.0051 | 30946.0051 | 0 | -0.00035 | 0.090889 | 0 | 0 | -0.00035 | -0.00035
| hydrogen | 124.2523 | 0 | 330420.411 | 330420.411 | 0 | -0.00072 | 0.30357 | 0 | 0 | -0.00072 | -0.00072
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -115798398.6337
StorageUnit | - | 68.1189 | 0 | 17402.7672 | 18688.0369 | -1285.2697 | 0 | 0.060482 | 598007.0089 | 1256356.1538 | 0 | 1256356.1625 | 72.1928
Store | ammonia | 7431.342 | 0 | 15473.0027 | 15473.0024 | 0.00035 | 0 | 0.35519 | 0 | 71612.2974 | 0.00035 | 71612.3319 | 4.6282
| hydrogen | 2124.3904 | 0 | 165210.2059 | 165210.2051 | 0.00072 | 0 | 0.13943 | 0 | 10773609.8682 | 0.00072 | 10773610.039 | 65.2115
Description | Value
Total Ammonia Output | 875999.9934
Total CAPEX | 106292922.0491
Total OPEX | 9505475.9285
Total LCOA (USD/t) | 687.3878

## LiNi_CY_GW
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | solar | 360.0174 | 0 | 372614.171 | 0 | 372614.171 | 0 | 0.11815 | 225377.5607 | 15282764.3107 | 0 | 15282764.1932 | 41.015
| wind | 696.8347 | 0 | 1563190.5801 | 0 | 1563190.5801 | 0 | 0.25608 | 1599117.2016 | 38225911.7051 | 0 | 38225911.6181 | 24.4538
Link | Electrolyser | 307.5863 | 0 | 1068290.7684 | 1810662.3194 | -742371.5509 | 0 | 0.672 | 0 | 15931385.0096 | 0 | 15931385.0119 | 14.913
| Haber-Bosch | 14.4903 | 0 | 875999.9741 | 1192682.7248 | -316682.7507 | 0 | 0.97996 | 0 | 6329181.619 | 9505475.7192 | 15834656.4194 | 18.0761
| ammonia | 38.7733 | 0 | 33109.6002 | 33109.6002 | 0 | 0.00017 | 0.09748 | 0 | 0 | 0.00017 | 0.00017
| hydrogen | 124.4443 | 0 | 316366.2236 | 316366.2236 | 0 | 0.00056 | 0.29021 | 0 | 0 | 0.00056 | 0.00056
Load | - | 0 | 0 | 0 | 876000 | -876000 | 0 |  | 0 | 0 | 0 | -96503016.2263
StorageUnit | - | 35.4881 | 0 | 10161.2266 | 10911.6773 | -750.4506 | 0 | 0.067786 | 311626.3818 | 654527.6694 | 0 | 654527.6667 | 64.4141
Store | ammonia | 7598.3423 | 0 | 16554.8 | 16554.8002 | -0.00017 | 0 | 0.34082 | 0 | 73221.5996 | -0.00017 | 73221.5814 | 4.423
| hydrogen | 2070.5468 | 0 | 158183.1115 | 158183.1121 | -0.00056 | 0 | 0.14059 | 0 | 10500548.0335 | -0.00056 | 10500548.235 | 66.3822
Description | Value
Total Ammonia Output | 875999.9741
Total CAPEX | 86997539.9469
Total OPEX | 9505475.7192
Total LCOA (USD/t) | 572.849